## Net12NMR
Revision # | Details
2.0.2 | Fixed Truncate crash. Fixed DCLevel bug. Also "My Personal Server" will only be added if ConsoleServer.exe is running.
2.0.1 | Fixed crash when changing ribbon view with no open files.
2.0.0 | Updated copyright owner. Added fix for name generation using Agilent automation filenames.
1.3.9 | A bug was fixed that was preventing custom (user typed) apodizations from being used properly.
1.3.8 | A bug has been fixed which prevented login to a password protected server.
1.3.7 | A bug has been fixed where Reload was not properly reinitializing processing parameters.
1.3.6 | Negative peaks are now properly detected.
1.3.5 | Varian/Agilent decoupler mode is now displayed in the F2 decoupler area.
1.3.4 | The Baseline "Level" command crash is now fixed.
1.3.3 | Closing the last document will now clear the Peaks and Integrals tabs of the output window, avoiding a possible crash if the user changes the selection in one of these tabs after the last file has been closed.
1.3.2 | The zoom cursors can now be "nudged" with the left and right keyboard arrows. The zoom cursors can also be "halved" with the "h" key on th keyboard.
1.3.1 | Reloading files now pays attention to the AutoYScale state. Holding down the <CONTROL> key when using the mouse wheel while phasing will change the offset (DC-level) of the spectrum.
1.3.0 | The Output windows have meaningful, functional context menu. Selecting peak or integrals in the lists in these windows will highlight those items in the display. Colors of the highlighted items are user selectable in the Properties window.
1.2.3 | On sceen peak listing have improved. Now all peaks (up to 108) peaks will be show.
1.2.2 | Net12NMR can now read Varian/Agilent files! Also fixed a bug that causes print preview to crash Net12NMR.
1.2.1 | Sorry, I busted autophasing in 1.2.0. It's fixed now!
1.2.0 | The scratch area used for threshold and integrals has been eliminate and so the in-memory footprint is significantly smaller. With the integrals and peak thresholds now only kept in the region lists, other subroutines used to maintain the current state of the open document(s) are significantly smaller.
1.1.1 | Many fixes! Baseline is now in the document while thresholds and integrals are in an app common area for the smallest possible memory footprint. Many small memory leaks have been plugged. There are none known to remain. Baseline, threshold and integral states are now managed through a load/save paradigm.
1.0.3 | Fixed integral cursor readout and the range of the displayed integral.
1.0.2 | Now pulling processing parameters from the flexible header in NetNMR (*.nmr) files and putting them in the right place in the fixed Net12NMR header. Add some features to and fixed some bugs in the Processing Shelf.
1.0.1 | Zoom to… dialog has been added. "Peak Labels" and "Integrals" have been added to the view pane of the home ribbon tab. A new Normalization tab has been added to the Integrals ribbon tab. Net12NMR files now stores a local integral normalization constant and the boolean state of the "Use Global" checkbox. Many problems have been fixed with reading .nmr files, especially in the area of peak listings and integrals. The help file has been updated with these now capabilities.
0.9.7 | Fixed a memory leak when initializing UI colors from the registry.
0.9.6 | Changed the "Open" dialog to allow opening multiple *.nmrx and *.nmr files.
0.9.5 | Made more room in the status panel for integral output. Put more space between axis tic labels.
0.9.4 | Fixed several bugs in integrals, GUI colors memory and importing/opening files.
0.9.2 | Moved some Ribbon widget subs from the View Class to the Application Class.
0.9.1 | First public Beta Release!

## NetPlot
Version # | Details
8.0.0 | Updated copyright owner.
7.1.6 | I renamed the Personal Server to "ConsoleServer" and NetPlot couldn't find it to make it available. Now it can.
7.1.5 | Fixed bug in Set Offset.
7.1.4 | Replaced _finddata_t with CFindFile. (Internal improvement.)
7.1.3 | "Local .nmr files" now doesn't show system or hidden files.
7.1.2 | Fixed some problems with opening .npl files.
7.1.1 | Still fixing bugs with DataClass. Hopefully this is it!
7.1.0 | Can now read Net12NMR files (*.nmrx). Complex floating point data is now in native "std" namespace templates, much easier to deal with.
6.3.5 | Minor bugs in data classification.
6.3.4 | Better handling of Personal Server.
6.3.3 | NetPlot is now "mulitscreen aware" and will restart at it's last position, if available. Phasing now works when the main window is on any screen.
6.3.2 | Spectrum subtration is now supported.
6.2.2 | Data classification is now supported.
6.2.1 | A problem with autophasing (spectra were sometimes upside down) was fixed.
6.2.0 | Several problems were fixed with processing multiple NetPlot documents at the same time. (Crashing bug!)
6.1.9 | A problem with passing DOSY parameters to ILT and Excel was corrected.
6.1.7 | Fitting integrals by ILT (inverse LaPlace transform) is now possible.
6.1.5 | Internal handling of the flex header has been optimized for future expansion.
6.1.4 | Fixed global scale bug. Individual spectrum offsets weren't global. Fixed parameter dialog bug. Initialization wasn't selecting proper label because it wasn't case sensitive.
6.1.3 | Tweeked the status bar update to show zoom cursors while draging.
6.1.2 | The status bar now has a pane that shows the difference between the zoom cursors.
6.1.1 | Each spectrum in a NetPlot document can have a different display color.
6.1.0 | The Y-scale of individual spectra can now be set.
6.0.6 | Fixed a crash bug when FT'ing data that is not a power of two. The work-around prior to this version is to zerofill (or truncate) before FT'ing.
6.0.5 | Integrals passed to Excel now have widths and chemical shifts instead of an "X" placeholder.
6.0.4 | DOSY parameters are added (in comment form) when doing a "Save As" text document. (NetSpan will pick this up and pass these parameters along to Excel.)
6.0.3 | A bug has been fixed that will cause a crash if you delete a spectrum while the phase dialog is visible and then try to phase the deleted spectrum. The dropdown box is now properly updated to reflect the actual document content.
6.0.2 | Help file improvements. There is a new "x1" (vertical expansion) button on the menu command bar.
6.0.1 | Better "at cursor" phasing is now possible with commands (Q and Z) to move between the spectra while in the manual phasing mode.
6.0.0 | NetPlot can now process data! Since NetPlot files don't contain imaginary data, the data has to be processed in the same NetPlot session that opened the FID data.
5.2.7 | If they exist, Varian DOSY parameters (dosygamma, timecubed and DAC_to_G) are added to cell A1 when integrals are fit with the external spreadsheet. These files will prepopulate the DOSY dialog, Be sure that the NetPlot label is "gzlvl1", the gradient value (in DAC units).
5.2.6 | Further tweaks on the Y-scale to improve the offset behavior.
5.2.5 | The axis tic label are now uniformly formatted. No longer will you see a "3" next to "3.5". It will be "3.0".
5.2.4 | Multiple files can now be selected in the file dialog. If the selection is contiguous, it can be moved up and down.
5.2.3 | Fixed bugs in password encryption.
5.2.2 | Y Expansion has been improved slightly. For the case where the expansion is exactly 1.0, non-negative spectra will have a window starting at the most negitive point. Once the y-expansion != 1.0, then the spectrum window will be symmetric about zero. Please note that using the mouse wheel to move the y-expansion seldom returns it exactly to 1.0. If you want to get back to the 1.0 display, set the y-expansion to something besides 1.0, then call up the parameter dialog and manually set the expansion to 1.
5.2.1 | Modified "NMR Curve Fit.xls" to proved more flexible control over what the x-axis (Time axis) units are. New units added: Minutes and Hours. Since the spead-sheet handles the scaling of the integrals, the internal scaling done by NetPlot was removed.
5.2.0 | Adjusting the Y Expansion can now be done with the mouse wheel and the keyboard up-arrow, the down-arrow and the <Home> key. The help file had been greatly expanded to describe these new features.
5.1.0 | Zooming can now be accomplished graphically using new main and zoom cursors (works like NetNMR). Just make sure you are not in "None" display mode. Integral regions can be defined if all spectra have the same window. The integrals can be fit to a user-selected model function (same spreadsheet analysis as NetSpan). More control over colors.
5.0.0 | Complied with Visual Studio 2005. NetPlot no longer supports Windows NT.
3.0.0 | NetPlot can now save (and open) native data files, *.npl.
2.7.2 | Add "Reverse All" button in file dialog to quickly reverse all the files in the file list.
2.7.1 | Better plotting with collections like T1IR data when using global scaling and an expansion factor > 1.0.
2.7.0 | Modified Full-Hertz-PPM behavior to work more consistently. From now on, "Full" means no axis will be drawn. If you need an axis, "Hertz" or "PPM" is required. Also the "Auto Arrange" button will force "Full" to "PPM".
2.6.1 | In "Full" mode axis now covers range of ALL spectra, not just the bottom one. In file dialog, chaged "My Computer" to "Local .nmr Files".
2.6.0 | Common network code for all applications.
2.5.6 | Password encryption improvements.
2.5.5 | Font size for title, labels and axis can be changed.
2.5.4 | Added ability to modify spectra labels.
2.5.3 | Fixed bug with creating numerical labels in .txt files.
2.5.2 | Adding additional spectra will display label.
2.5.1 | Fixed bug with nonzero X offset.
2.5.0 | Varian arrayed 1D files can now be opened.
2.4.0 | Multiple files from the same directory can be added simultaneously.
2.3.1 | Opening a server based file before changing directories.
2.3.0 | Security release.
2.2.1 | Added horizontal scrollbar to file listbox in File Selection dialog.
2.2.0 | Added color control.
2.1.0 | Changed clipboard format from regular to enhanced metafile.

## NetComPlot
Version # | Details
6.0.0 | Updated copyright owner.
5.2.3 | Better handling of Personal Server.
5.2.2 | DataClass is now reported for the 2D files in the first line of info.
5.2.1 | Added processing (symmetrization).
5.1.7 | Fixed problem with vertical 1D spectra chemical shift readout.
5.1.6 | Increased readout precision of cursors to 0.001 PPM.
5.1.5 | The axis tic label are now uniformly formatted. No longer will you see a "3" next to "3.5". It will be "3.0".
5.1.4 | Under certain conditions, graphics were sent to windows not yet created. This fix will sometimes result in what appear to be empty data. Just iconify and restore the main window, or cover it up and the uncover it. Some additional work will probably be done in the near future.
5.1.3 | The projection dialog bitmap wasn't being displayed. Now it is.
5.1.2 | Fixed bugs in password encryption.
5.1.1 | Displaying a newly imported 2D would give a blank spectrum. This bug has been fixed.
5.1.0 | You can't generate a projection until you have displayed the 2D data. The "unregistered" full mode has been eliminated. PPM and Hertz are the only choices for horizontal and vertical axes. Zoom regions are remembered and you can go back.
5.0.1 | Whoops! The display wasn't working! Now it is...
5.0.0 | Complied with Visual Studio 2005. NetComPlot no longer supports Windows NT.
1.4.2 | Whoops, found (and killed) some other minor bugs in the import dialog regarding dynamic button enabling.
1.4.1 | Fixed projection bug that may cause a crash if projecting from a non-square dataset.
1.4.0 | Added projections. The Projection button is on the NMR Data dialog. Select a 2D spectrum (that has already been displayed) and then hit the Projection button and select which projections you would like to add.
1.3.0 | Fixed some problems with controlling the order of 2D spectra. Also added 2D integrals. Make sure "Full" is not selected for both axes, then just drag a box around a peak and right-click!
1.2.0 | Common network code for all applications.
1.1.5 | Password encryption improvements.
1.1.3 | Arrayed files aren't visible.
1.1.2 | Removed hard-coded block of Mt.V., Selkirk and Omega 500.
1.1.1 | Opening a file before changing a directory.
1.1.0 | Security release.
1.0.2 | DOSY spectra axis zero.
1.0.1 | Data Files dialog reconnect issue fixed.
1.0.0 | Initial release.

## NetSpan
Version # | Details
7.0.1 | Fixed bug preventing NetSpan from finding the running ConsoleServer.
7.0.0 | Updated copyright owner.
6.2.1 | Fixed File->Open bug.
6.2.0 | Can now open Net12NMR documents (*.nmrx).
6.1.6 | Better handling of Personal Server.
6.1.5 | A problem with passing DOSY parameters to Excel has been corrected.
6.1.4 | Fit, computed integrals can now be analysed by inverse LaPlace transform (ILT.exe) in addition to analyzing by simple Excel® analysis. Like Excel analysis, DOSY parameters (gamma, timecubed and DAC_to_G) are passed to ILT if present.
6.1.2 | NetPlot (*.npl) files can now be added to the current document. As always, only spectra in the NetPlot document with an identical spectral window will be added.
6.1.1 | Problems with DOSY paramters have been corrected. The spectrum frequency has been added as a parameter passed in Cell A1 so that fit line widths in PPM can be converted to Hertz.
6.1.0 | NetSpan can now open NetPlot Documents. Because of the limitiations built into NetSpan, after the first spectrum from a NetPlot document is read, only subsequent spectra with the same spectral window will be added to the NetSpan document.
6.0.7 | DOSY parameters are read from comments in an input text file. (These comments will be created and added automatically to the beginning of a text file created in NetPlot.)
6.0.6 | The default iteration count for Simplex has been increased to 200,000.
6.0.5 | The spectrum update while performing a simplex fit will now occur at a minimum of 10 second intervals, significantly improving the performance.
6.0.4 | Three necessary DOSY parameters (gamma, timecubed and DAC_to_G) are passed to the fit data in cell A1, if they exist. These values will prepopulate the DOSY dialog in the Excel helper workbook, NMR Curve Fit.xls. The macro has been improved to show additional parameters derived from the primary fit parameters: A "W" (fraction inversion) parameter has been added to some TI functions and a hydrodynamic radius has been added to the DOSY function. In addition to the three additional necessary parameters (gamma, timecubed and DAC_to_G), DOSY needs the temperature and solvent viscosity in order to calculate the hydrodynamic radius and this information is now collected in the DOSY dialog.
6.0.3 | It is now possible to display a selected eight spectra, if there are more than 8 spectra in the current document
6.0.2 | A bug has been fixed that caused exported Excel sheet to contain errors when the number of spectra exceeded 26.
6.0.0 | Downhill simplex was added to the optimization techniques. Although it takes longer, downhill simplex is more robust for complex deconvolutions.
5.0.8 | Integral data passed to Excel is now expressed in a formula of height, width and lineshape. Added a few new functions to the Excel macro.
5.0.7 | Fixed bugs in password encryption.
5.0.6 | Multiple spectra can now be selected in the Spectra dialog list box using the <SHFT> and <CTRL> keys in the usual way. Only contiguous selections can be moved up or down. Any selection can be removed. Only single selections can be renamed.
5.0.5 | <Control> and <Shift> can now be used in the file import dialog. The file listbox has been substantially widened on the Spectra property page.
5.0.4 | A bug has been fixed with trying to open an *.nms file from Windows Explorer (by double-clicking on it).
5.0.3 | When the Lines property page is shown, the display will show the line currently selected. This line is updated "on the fly" if you grab a slider and move it. When you do, NetSpan will recalculate all line heights using a least squares fit.
5.0.2 | Opening text files: field separators were <space> and <tab>, now they are only <tab> so that dates (with times) can be used as the spectrum variable.
5.0.1 | The first time data is displayed, system colors are not set correctly.
5.0.0 | Complied with Visual Studio 2005. NetSpan no longer supports Windows NT.
1.2.1 | In file dialog, changed "My Computer" to "Local .nmr Files".
1.2.0 | Common network code for all applications.
1.1.5 | Password encryption improved.
1.1.3 | Added several new fitting functions to "NMR Curve Fit.xls"!
1.1.1 | Added DOSY calculations. Fixed spectrum order bug in Spectrum tab panel.
1.1.0 | Improved Lines interface. Corrected line width bug when adding lines with negative intensity.
1.0.0 | Curve fitting has been added via "NMR Curve Fit.xls".
0.9.4 | "Sticky" mouse cursor mostly eliminated.
0.9.3 | Moved text file open out of serialization routine. Added NetNMR-like zoom cursors and "Zoom" and "Full" context menu commands.
0.9.2 | Fix bugs with setting spectrum labels and closing the TCP/IP port when importing data.
0.9.1 | Do global scale on new range.
0.9.0 | Initial beta release.

## ILT
Version # | Details
6.0.0 | Updated copyright owner.
5.1.5 | Fixed File->Open bug.
5.1.4 | ILT scales delay times with suffix 'u' or 'm' scalers in the Xvalue column.
5.1.3 | ILT can now open appropriately formatted text files from the command line.
5.1.1 | The DOSY prompt on the MonteCarlo dialog has been corrected. It was asking for the wrong units.
5.1.0 | MonteCarlo has been highly modified and automatically produces an Excel report of the outcome. There is an redesigned dialog to run the MC experiment.
5.0.2 | MonteCarlo now tracks PDI in MonteCarlo.txt (created in the current directory).
5.0.1 | Fixed a problem with file versioning that prevented opening files saved with version 5.0.0.
5.0.0 | DOSY calculations now calculate hydrodynamic radius and are reported in the text summary window.
4.0.5 | A bug preventing ILT from remembering the currently selected confidence interval from calculation to calculation has been eliminated.
4.0.4 | Monte Carlo now pastes terms from the clipboard.
4.0.2 | Monte Carlo simulations no longer reqire a simplified and optimized fit in order to start.
4.0.1 | The labels on the vertical axes are uniformly formatted, if the increment is less than 1.0.
4.0.0 | T1IR has been removed as a kernel type. (In form, it is identical to T1 and therefore redundant.) During optimization, terms migrating outside the user defined rate (or relaxation time) limits will be removed. Confidence level values have been changed. Confidence levels are now accessible in the ILT method dialog. It is now more important than ever to be sure the fit has the proper limits defined before the optimization is done.
3.0.0 | SIRT (simultaneous iterative reconstruction technique) has been added as a new transform method.
2.0.8 | The data display stretches and is proportional to the window it is in
2.0.6 | Fixed small error in simple confidence ellipses.
2.0.5 | Ellipses with negative amplitude elements were overwriting X-axis. Plugged memory leak in null hypothesis testing.
2.0.4 | Confidence intervals are now available in the text output. Null hypotheses test are improved.
2.0.3 | Colors have been added to the Monte Carlo plot.
2.0.1 | Null hypothesis testing is against the user selected simple Chi-squared confidence interval. (Before it was hard coded to 68%.)
2.0.0 | Added joint confidence intervals (amplitude vs. rate). Different levels of confidence can be selected by the user. These feature resulted in a number of internal changes. Also, fixed some crashes when opening bad text files.
1.1.2 | Fixed errors in Monte Carlo error recovery (when a fit blows up) and dialog. Also the random number generator was initializing improperly.
1.1.0 | Added Monte Carlo simulation.
1.0.0 | Initial Release

## ConsoleServer
Version # | Details
2.1.3 | UnathorizedAccessException now caught in directory expansions.
2.1.2 | Updated Name
2.1.1 | Server threads (the part of the ConsoleServer that actually services the incoming requests) are now hardcoded to "en-US" culture.
2.1.0 | This server can now serve both Bruker and Varian/Agilent files! Changed my custom dictionary to the System.Collections.Generic.Dictionary<>, a lot more flexible than my code. Now in addtion to Dictionary<string,string>, I can have Dictionary<string, string[]> and Dictionary<string,double> needed for the Varian data handling.
1.1.0 | Changed Title to "Personal Server"

## Connection Manager
Version # | Details
6.0.0 | Updated copyright owner.
5.0.1 | Fixed bugs in password encryption.
5.0.0 | Complied with Visual Studio 2005. Connectmgr no longer supports Windows NT.
1.0.3 | Common network code for all applications.
1.0.2 | Password encryption improvements.
1.0.1 | Changed editor prompts.
1.0.0 | Initial Release.

## NetNMR
Revision # | Details
5.1.26 | Imaginary fid display bug fix.
5.1.25 | Smarter handling of Personal Server. Updated for TopSpin 3.X data (now using GRPDLY in acqus).
5.1.24 | NetNMR is now "mulitscreen aware" and will restart at it's last position, if available. Phasing now works when the main window is on any screen.
5.1.23 | You can listen to the recorded fid with a new "Play" command, available in the file menu and on the button bar.
5.1.22 | DataClass is now reported in the fileinfo.
5.1.21 | The precision of peak picking label is now user slectable.
5.1.20 | The precision of peak peaking has been changed to 0.1 for Hz and 0.0001 for PPM.
5.1.19 | The previous revision caused Varian files to be misnamed. This is now corrected. Also NetNMR better handles file naming in the case of subdirectories.
5.1.18 | The procno, "pdata", and expno will be cut from the end of proposed file name for Bruker files as long as procno=1 and expno=1.
5.1.17 | The mouse wheel and the up and down arrow now control the y-axis scale. (Don't forget <HOME> autoscales the y-axis.)
5.1.16 | Created in 5.1.11, a bug was fixed that improperly reported the cursor Y-value.
5.1.15 | The axis tic label are now uniformly formatted. No longer will you see a "3" next to "3.5". It will be "3.0".
5.1.14 | Another bug related to changes in 5.1.12, peak-picking has been fixed.
5.1.13 | The display would lock up with 128k spectra. This was introduced because of 5.1.11 and has been fixed.
5.1.12 | Integrals are now properly scaled.
5.1.11 | Several changes have been made in the GUI. Calls to write the data are now buffered. Clipboard graphics are now enhanced Windows metafiles.
5.1.8 | Three DOSY parameters are displayed in the parameters and header, DAC_to_G, timecubed and dosygamma, to support Varian DOSY experiments.
5.1.7 | Introduced in 5.0.0, a bug was fixed that prevented the drive dropdown list from being populated on the import dialog.
5.1.6 | Fixed bugs in password encryption.
5.1.5 | Introduced in 5.1.0, a bug was eliminated with prevented opening some *.nmr files if there were peak-picking thresholds saved with the file.
5.1.4 | A bug was fixed which prevent clearing a peak- picking region. Also, returning to the processing panel from some other panels was not setting the display mode properly (the parameters weren't displayed).
5.1.3 | NetNMR requires there to be at least 1 point between integral regions that is not part of either adjacent region. In some cases when using parameter files, integrals are not separated properly and then are not drawn properly. This has been fixed by trimming the region to lower field until there is at least 1 point of separation. If this region started as a single point integral, this integral will then be discarded altogether.
5.1.2 | Introduced in 5.0.0, a bug was eliminated which prevented direct importation of native Bruker files from a local drive.
5.1.1 | Sometimes the display gets corrupted when another window partially covers it up and then gets dismissed. Hopefully this problem has been eliminated with this release.
5.1.0 | Peak-picking has several new features. Peaks can be copied to the clipboard, or analyzed for differences within an Excel™ spreadsheet. Also peak positions and heights can be reported after parabolic fitting, providing greater accuracy.
5.0.1 | Porting to VS'05 introduced a bug in the phase text line on the phase panel. It was fixed.
5.0.0 | Complied with Visual Studio 2005. NetNMR no longer supports Windows NT.
2.10.3 | If the axis is Hertz or PPM, the zoom cursor difference is shown in both Hertz AND PPM.
2.10.2 | Error checking of parameter files was fixed, along with a memory leak in this same code. Now if there are overlapping baseline, peak or integral regions, NetNMR will let you know and refuse to use the parameters. Some minor "reintroduced" bugs are now squashed.
2.10.0 | Autophasing of spectra has been SIGNIFICANTLY improved. Buttons now exists for optimizing both the constant and linear or just the constant phase correction term. A new button will also set the global phase to zero (both terms). This release also includes fixes for several "reintroduced" bugs resulting from the complete rebuild of 2.9.0.
2.9.0 | A complete rebuild with .NET 2003 was done to clean up some old, lingering bugs. DDE now works properly: Double clicking on a .nmr file in Windows Explorer now does the correct thing! You can also print directly from Explorer by right clicking on a .nmr file and selecting "Print". Importing a Bruker FT'ed file will now allow the axis to be changed to any appropriate unit, not just time units.
2.8.0 | Can now import native Bruker files directly from the "My Computer" server, if configured. If you don't have a "My Computer" in the list of NMR Servers in the Import Dialog and you think you could use it, contact Tom Early.
2.7.1 | .NET 2003 has a bug that prevented opening *.nmr files from a CD. This release fixes this bug with a work-around.
2.7.0 | Common network code for all applications.
2.6.2 | Password encryption improvements.
2.6.1 | Integrals can be copied to the Windows clipboard.
2.6.0 | Varian arrayed 1D files can now opened.
2.5.1 | Automatically strip ".fid" from the end of imported file names.
2.5.0 | Multiple NMR files from the same directory can be imported or opened simultaneously.
2.4.1 | Fixed reload function for secure servers.
2.4.0 | Security release.
2.3.2 | Fixed color bug for zoom and cross-hair cursors when background is not black.
2.3.1 | Added color button for black on white.
2.3.0 | Added color control. Enlarged integral font by 50%.
2.2.0 | Added parameter files for routine, semi-automated processing.
No longer supported.